LOSS OF AIR CONDITIONING DURING HOT WEATHER POLICY

Effective Date: February 2014

Policy:  To establish guidelines to maintain a safe and comfortable environment in the event of the loss of air conditioning.

Policy Specifications:

Staff will be oriented and educated to the procedures to address individual room air conditioner malfunction as well as loss of air conditioning to the entire facility.

PROCEDURE FOR INDIVIDUAL ROOM AIR CONDITIONER MALFUNCTION

1.	If a staff member observes an individual air conditioning unit not working properly, the Maintenance Department will be notified of the malfunction via telephone and maintenance work order.

2.	Individual rooms affected will have hourly temperatures taken and recorded. IDPH, ISDH, Joint Commission and Administration Code 300 Table D will be utilized when determining if residents need to be relocated.

3.	The window coverings of the affected room should be closed to prevent sun light from entering.

4.	The windows of the affected room should remain closed to prevent hot air from entering the room.

5.	The hallway door of the affected room should remain open to allow cooler air from the hallway to enter the room.

6.	Additional ice water or other fluids should be encouraged to the affected residents.

7.	If the room becomes uncomfortably warm for the affected residents, it is recommended they be moved to another room if available.

8.	When the air conditioning unit has been restored to the affected room, temperatures will be monitored each shift for 24 hours and recorded on a temperature log.

PROCEDURE FOR LOSS OF AIR CONDITIONER TO THE FACILITY

1.	Notify Administrator and Maintenance Department of the malfunction via telephone.

2.	The Administrator will designate the staff to contact the local electric company if appropriate and/or the heating/cooling contractor as warranted.

3.	Individual rooms/affected areas will have hourly temperatures taken and recorded. IDPH, ISDH, Joint Commission and Administration Code 300 Table D will be utilized when determining if residents need to be relocated.

4.	The window coverings of the resident’s rooms and common areas should be closed to prevent an increase in the temperature.

5.	All windows in the facility should remain closed.

6.	All resident and common areas doors to the hallway should remain open except for Laundry and Dietary.

7.	Resident should be wearing light weight clothing to maintain their comfort.

8.	Residents should be offer and encourage extra water/fluids.

9.	Residents should be observed closely for adverse effects of warmer temperatures.

10.	Cool compresses/towels should be offered to residents.

11.	The Administrator will determine when and if evacuation is necessary. If the decision is made to evacuate, residents will be evacuated following the evacuation procedure.