AUXILIARY POWER FOR LIFE SUPPORT SYSTEM POLICY
Effective Date: *

Policy:  It is the policy of this facility that auxiliary power will be provided to designated areas within the facility to operate life-support equipment should the normal power supply fail.
Policy Specifications: To define the location and use of auxiliary power sources.
Responsibility:  Maintenance Director
Standards: 

1. In the event normal power supply is disrupted, the emergency generator will provide auxiliary power to established areas on the facility premises.

2. Special life-support equipment is on hand and can be operated by plugging into the red emergency electrical outlets in the corridors located throughout the building.

3. Nursing personnel are responsible for immediate relocation of residents having life-support equipment needs.
