EMERGENCY GENERATOR TEST POLICY

Effective Date: *

Policy:  It is the policy of this facility to test the emergency generator monthly to ensure that during a power failure the system will be operational.

Policy Specifications:  To provide guidelines for the routine testing of the emergency generator.

Responsibility:  Maintenance Director

Standards:

- In the event the normal supply of power is disrupted, the facility is equipped with an emergency generator that will automatically activate within ten (10) seconds of the loss of the normal power supply.

- Systems connected to the emergency generator include:

  - Emergency lighting

  - Fire alarm system

  - Exit signs

  - Life support system

  - Corridor lights

  - Refrigeration systems

  - Freezers

- The emergency generator is tested monthly and such test results are recorded on the Alarm and Life Support Systems Test Record.