ENVIRONMENTAL SERVICES POLICY

Effective Date: *

Policy:  It is the policy of this facility that the facility is constructed, equipped and maintained to carry out the function of all services and to protect the health and safety of residents, personnel, public, and in compliance with all applicable Federal, State and Local regulations.

Policy Specifications:  To ensure that the facility is designed, equipped and maintained in accordance with all governing rules and regulations and standards.

Responsibility:  Administrator, Maintenance Director and all Department Directors

Standards:

- The facility meets all applicable regulations of the Life Safety Code of the National Fire Protection Association, Indiana Fire Prevention Commission, and Uniform Statewide Building Code.

- The facility complies with the American National Standards Institute, Standard No. A 117.1, American Standards Specifications for making buildings and facilities accessible to and useable by the physically handicapped and all other Federal, State and Local regulations that apply. Handrails are provided in corridors, stairwells and ramps. Grab bars and other safety measures are provided in resident rooms, bathing and toilet areas.

- The facility will have no more residents or beds set up than the number for which it is licensed, except in the case of an emergency when permission has been granted from the Indiana State Department of Health.

- The facility is designed and equipped for the safety and comfort of the residents. Common areas shall be furnished with comfortable, suitable equipment and furnishing.

- All inside and outside steps and ramps used by residents shall have nonslip treads.

- All walls, ceilings and flooring material installed shall be of material and design to be easily and satisfactorily cleaned and maintained in good repair.

- Connections for private telephones shall be provided in each resident room. Telephones are available at the workstations and in office areas for staff use.

- The facility plumbing, heating and ventilating systems shall be maintained in good operating condition and utilized as necessary to provide comfortable temperature (71 - 81 degrees F.) and air exchange in all areas. Systems shall comply with all applicable rules of the administrative building council of Indiana (6601AC).

- The facility provides a functional, sanitary and comfortable environment for residents, employees, and the public by maintaining adequate lighting, avoidance of high brightness, glare and reflecting surface which may cause discomfort, limiting sounds to comfort levels throughout resident areas, and appropriate use of air conditioning.

- Appropriate signage is located throughout the facility to indicate a total non-smoking environment.

- The facility has an emergency power system which supplies electrical power in case of a power outage for lighting all means of egress, fire detection alarm, extinguishing systems, and life support systems in the event the normal electrical supply is interrupted. When life support systems are used the facility will have an emergency generator to supply its emergency power when normal electricity supply is interrupted. Emergency system shall include battery operated entrances and exits. The utilities management program assures the operational reliability, assesses special risk and responds to facilities systems that support the resident care environment.

- Flashlights or battery operated devices, maintained at the nurses station, shall be available for staff use.

- Outside entrances and parking areas shall be well lighted for prevention of injuries and protection against intruders.

- Sidewalks, patios, garden areas, etc. shall be maintained in a pleasing safe and orderly manner at all times. Lawns and scrubs will be cut and trimmed to maintain an orderly appearance.

- All public areas, work stations, corridors, resident lounges and dining areas are designed and maintained in accordance with state and local requirements for square footage and furnishings. Dining, lounge and activities areas shall be sufficient in size and furnished to meet the needs· of the residents and designed to prevent interference of one function or activity with another.

- Resident rooms are designed and equipped for adequate nursing care and comfort and privacy of the residents. The rooms meet all Federal, State and Local regulations for size (unless waived by the Indiana State Department of Health), equipment and construction including ventilation, lighting, floor space, individual closet space and furnishing.

- City water service is provided and installed in compliance with all regulations to prevent cross connections. Appropriate arrangements have been made for emergency water supplies in the event of disruption of city service. (See Disaster Plan.) Potable water supply is protected from contamination by providing and properly installing backflow devices or adequate air gaps on all fixtures that are subject to backflow or back siphonage.

- City sanitation services provide the facility with approved sewage disposal.

- The facility has an effective commercial garbage and waste disposal system. Procedures are established for the safe and sanitary disposal of solid wastes including disposal of biohazardous waste.

- The Dietary Service Department is designed and equipped for preparation and serving of meals and shall comply with all required standards and regulations of 410 lAC 7-20 and all applicable local regulations for the provision of food service facilities and maintenance thereof.

- The facility shall equip and maintain nourishment pantries for supplemental food service. Ice shall be available in the facility at all times.

- Maintenance and facility equipment storage areas will be kept safe, clean and free from accumulation of unserviceable equipment which is designed not to interfere with facility operations or inconvenience residents. No equipment shall be installed in hallways or in common areas which inhibit the intended use of the area.

- Security is provided through the use of window and patio size openings of no more than 4-6 inches and alarmed doors.