FIRE POLICY AND PROCEDURE

July 2014

POLICY: The primary purpose of the Fire Policy and Procedure is to provide a course

of action for all personnel to follow in the event of a fire.

PROCEDURE:

I.	IF YOU DISCOVER A FIRE:

1.	RESCUE ANYONE IN IMMEDIATE DANGER.

2.	CONTAIN THE FIRE – This can be accomplished by closing the door to the affected area, assure that the double fire doors to the unit are closed, closing all doors and windows adjacent to the fire, shutting off all fans, ventilators, A/C units.

3.	If the safety of residents or yourself requires you to stay in area and you cannot get to pull station or paging system –

“CODE RED ____________ “(stating what area i.e. CODE RED IN FRONT LOBBY) SHOULD BE VERBALLY ANNOUNCED LOUDLY SO OTHER STAFF CAN ASSIST.

4.	PULL THE NEAREST FIRE ALARM

5.	ANNOUNCE via PAGING SYSTEM “CODE RED” AND THE LOCATION OF THE FIRE THREE (3) TIMES.

6.	THE NURSE ASSIGNED TO THE AFFECTED UNIT MUST CALL 911

7.	EXTINGUISH IF THE FIRE IS SMALL – The extinguisher should be aimed at the base of the fire and slowly moved upward in a sweeping motion

8.	EVACUATE RESIDENTS IN THE AFFECTED AREA – Be sure to move residents to an area safeguarded by double fire doors (to a separate fire containment area). Assure there are at least one set of fire doors between the residents and the fire. It is important to evacuate residents to a safe containment area.

9.	During evacuation, keep yourself and the resident as low as possible to avoid smoke inhalation.