FIRE AND DISASTER PREPAREDNESS POLICY

Effective Date: *

Policy:  It is the policy of this facility that detailed plans and procedures be developed and maintained to meet all potential emergencies and disasters. This ensures prompt action is taken to protect the lives of residents, staff and visitors as well as property in the event of a man-made or natural disaster. It is also the policy of this facility that the plan be practiced regularly and instruction be provided to all employees.

Policy Specifications:  To establish facility guidelines for an acceptable written plan in the event ·of fire, explosion or other disaster that includes staff training and implementation procedures.

Responsibility:  Administrator, Maintenance Director, and Facility Personnel

Standards:

- The facility shall comply with fire and safety standards, including the rules of the Indiana Department of Fire and Building Services and the NFPA, where applicable to health facilities.

- The Facility Fire and Disaster Manual shall include an Emergency/Disaster Relocation Plan with specific policies and procedures.

- The plan is developed and maintained with the assistance of qualified fire, safety and other appropriate experts.

- The Plan will be reviewed and revisions approved at least annually by the Quality Assurance Committee. Review will include evaluation of the objectives, scope, performance and effectiveness of all aspects of the plan. Changes in the plan will be reported to the Safety Committee.

- The Disaster Plans shall include processes for the following:

  - Implementation of specific procedures for a variety of disasters including severe weather, earthquakes, radiation, bomb threats, internal and external emergencies which disrupt resident care, loss of utilities and hazardous material emergencies.

  - Definition and as appropriate, integration of the facility's role in community-wide emergency disaster preparedness efforts. (See local community plan.)

  - Notification of external authorities and facility personnel when emergency measures are initiated.

  - Assignment of available personnel to cover all necessary staff positions.

  - Management of space, supplies, security, alternative utilities and provision of back-up communication system in the event of failure during emergencies.

  - Evaluation and relocation of residents with provisions to manage care including alternative site, scheduling, modifying or discontinuing services, controlling resident information and transporting residents.

  - Facilities for radioactive or chemical isolation and decontamination.

- The Fire (Life Safety) Plan will include processes for the following:

  - Protecting residents, personnel, visitors, and property of fire, smoke and other products of combustion.

  - Process for maintaining compliance with Life Safety Code and state requirements regarding structural requirements for fire protection.

  - Quarterly testing of all circuits and annual preventative maintenance of all components of fire alarm systems, fire-detection systems (fire panel) and sprinkler systems.

  - Inspecting, testing and maintaining automatic and portable fire extinguishers, including monthly inspections, regular maintenance and guidelines for their identification, placement and use in high risk areas.

  - Process for assuring new furnishings, decorations, etc. meet appropriate safety codes.

  - Methods for reporting and investigating Life Safety Code and fire protection deficiencies, failures, and user errors.

  - Emergency procedures that address facility-wide fire-response, area-specific needs and fire evacuation routes.

  - Specific roles and responsibilities of personnel at a fires' point of origin, away from the fire's point of origin and roles of personnel in preparing for building evacuation.

  - Oxygen storage areas free from clutter, vented, secured, no combustible/flammable products in area.

- The facility will conduct unannounced fire drills a minimum of one time per shift, four times a year, with at least twelve (12) drills held per year.

- The Maintenance Director will be responsible for initiating these drills and will maintain documentation including names, signatures, and location of all personnel present during the drill and the report of the drill activity in the administrative office.

- At least annually the facility will conduct a fire drill in conjunction with the local fire department.

- Fire exit drills will be performed using a system which ensures rotation of pull stations and the transmission of fire alarm signal and simulation of emergency fire conditions except that residents who are very fragile or bedridden will not be moved to safe areas or to the exterior of the building. Pull station rotations will include resident care areas, dietary/kitchen and laundry/dryer area. Drills held between 9:00 p.m. and 6:00 a.m. will use the code word “CODE RED” instead of audible alarms.

- Each new employee will receive orientation on the Disaster and Emergency Preparedness Plan and a copy of the Disaster Plan will be available to personnel in each department and posted as appropriate. (See Safety Manual.)

- The orientation program and annual in-service education programs provided to all staff will address the following:

  - Instruction on roles/responsibilities at the scene of a fire including methods to contain fire and protect individuals in the area, use of fire alarms and extinguishers, and building compartmentalization procedures for containing fire and smoke.

  - Procedures for responding to a fire alarm when not in the immediate area of the fire.

  - Responsibilities and roles in preparing for building evacuation including location/ use of transport equipment to areas of refuge.

  - Location of fire panel and identification of fire areas/zones

  - Management of exits, when fire alarm is triggered and doors released

  - Instruction of dietary staff on location and manual shut off for gas to cooking range

- Evacuation maps will be posted conspicuously throughout the building. During an evacuation all staff are required to follow established procedures, unless directed otherwise by the fire officials.

- In addition to fire drills, tornado drills wilbe conducted annually prior to the tornado season (April-June). Records of these drills including the names of the participants and the drill activity, will be maintained by the Maintenance Director.

- The Maintenance Director and Administrator, will participate in disaster preparedness workshops and relay new information to facility staff.

- Fire protection equipment and features are provided and maintained in accordance with NFPA and state regulations. (See Environmental Services and Safety Policy.)

- The fire alarm system will be tested monthly and written records of the monthly tests will be maintained by the Maintenance Director.

- Emergency electrical power will be available from an emergency generator on the premises where life support systems are used, including suction machines to maintain an open airway. Emergency power system is adequate to provide for lighting of all entrance and exits, equipment to maintain fire detection, alarm and extinguishing systems.

- Emergency water supply will be available. A vendor contract is maintained to provide potable water within 24 hours of notification. When necessary, a water tanker will be placed on the premises.

- Combustible materials shall be stored in areas away from the location of oxygen tanks. The oxygen storage area has the required signage and locking device to prevent accidental entry. Oxygen tanks are stored in a manner which prevents touching and/or falling.