SAFETY POLICY

Effective Date: *

Policy:  It is the policy this facility to ensure that the facility environment remains as free of accident hazards as is possible.

Policy Specifications:  To ensure that all equipment and employee work practices are conducive to safe working conditions for employees and a safe living environment for each resident.

Responsibility:  Administrator, Medical Director, Safety Office and Committee, Department Directors and all Facility Staff

Standards:

- A Committee of the Quality Assurance Committee may be established as needed with written policies and procedures to investigate, monitor and make recommendations for the prevention of accidents and incidents in the facility and respective grounds. (See Safety Committee Policy).

- Each resident shall be assessed to identify potential risks and receive adequate supervision and assistance, including devices, to prevent accidents.

- All department policies and procedures, including instructions for the operating equipment, will include safety instructions and precautions.

- Employees will receive training on safety precautions during their initial orientation to their specific job assignment and regularly scheduled in-services, at least annually, on safety and accident prevention.

- All necessary accommodations are made to meet the needs of residents with semi-ambulatory disabilities, sight and hearing disabilities and other disabilities in accordance with ANSI Standard No. A 117.1 (1961). (See Physical Plant Policy).

- All state regulations regarding fire safety and prevention shall be strictly adhered to. Records of inspection of Life Safety, Medical and Utility Systems are tested and maintained. (See Disaster Preparedness Policy.)

- Doors to janitor’s rooms, utility rooms, mechanical rooms, linen rooms and tub and shower rooms will be marked in such a manner as to provide a warning and identification of potential hazards for the blind. Hazardous areas will be identified and locked as appropriate to ensure resident safety.

- An alarm system is installed on exits which allows for staff monitoring the coming and going of residents that are unaware of safety concerns and ensuring residents do not leave the premises without staff knowledge. .

- Security systems are to monitor stairwells, elevators and courtyard doors.

- All equipment, including resident room furniture and fixtures will be inspected prior to use and periodically thereafter to ensure resident safety.

- Monthly safety inspections shall be documented by the individual who conducted the inspections. Inspections will be performed on each piece of equipment used in the transfer and movement of residents, i.e. bed/chair/toilet lifts, tube lifts, bed locks, van lifts.

- All accidents and incidents which occur on the premises will be reported and documented on a facility approved Incident Report. Each such occurrence will be reviewed by the appropriate department head and Administrator to assure prompt response was initiated to prevent reoccurrence, when possible. (See also Safety Sub-Committee and Accident Incident Reporting Policies).

- A Safe Medical Device compliance plan is developed to review and determine use or continued use of medical devices that includes:

  - Manufacturer's certifications, recommendations

  - Preventive inspection and maintenance

  - Method to communicate repair needs

  - Protocol to remove from service

  - Orientation and ongoing staff education on use

- The Administrator shall be responsible for reporting to the Federal Drug Administration and the manufacturer each occurrence of death or serious injury or illness which is attributed to the use of a medical device. (See also Accident Incident and Unusual Occurrence Policy.)

- All chemicals and hazardous equipment shall be properly stored in a secure area or cabinet to prevent resident or employee incidents. OSHA Hazard Communication Standards shall also be adhered to. (See also Hazard Communication Standard Policy).

- Maintenance staff are informed of the facilities program related. Lock-Out -Tag-Out" in accordance with OSHA Standards.

- Equipment which has the potential to have unexpected start-up (energization) or release-stored energy which could cause injury will be identified and safety procedures developed and maintained for staff use.

- Safety issues shall be reported at least quarterly to the Safety Committee regarding identified safety management issues and summaries of the departmental safety activities.

- Hazardous materials and wastes are handled and stored in a manner to protect residents, public, employees and the environment.

- The use of lighted candles or incense is prohibited in the facility except on special occasions when a staff member is designated to man a "fire watch" with hand-held fire extinguisher.

- Equipment brought into the facility may not be placed into use until inspected by maintenance personnel, found to be safe for use and tagged by the inspector. Tag should include description of the equipment, name of the inspector and the date inspected. Equipment includes all electrical appliances as well as other objects or equipment determined by facility management.

- All resident areas are easily visualized or supervised by staff members.

- Walking surfaces are covered with products that are easy to maintain and prompt safe ambulation. Interior and exterior surfaces have slip and fall controls.

Reference: 410 IAC 16.6-2-4(5)(c)

42 CFR 1910.147 OSHA Control of Hazardous Energy Source

Safety Committee Policy, Accident/Incident Reporting and Unusual Occurrence

Policy, Nursing Procedure Manual, Maintenance Policy, Housekeeping Policy

Orientation and Inservice Policy, Medical Direction Policy, and Physical Plant

Policy.

OSHA Hazard Communication Standard