SPRINKLER SYSTEMS TESTING POLICY
Effective Date: *

Policy:  It is the policy of this facility that the sprinkler system shall be tested on a regularly scheduled basis which meets all regulatory compliance rules.
Policy Specifications:  To establish guidelines for the routine inspection of the sprinkler systems.
Responsibility:  Maintenance Director
Standards: 

1. The sprinkler system shall be tested at least quarterly and records shall be maintained of such test results.

2. The sprinkler system is tested only by authorized personnel who are knowledgeable of such systems.

3. The sprinkler system is tested by a vendor who has a written agreement with the facility which meets all governing body requirements to provide services.

4. All test results are recorded by the person conducting the test in the test record is maintained with the Administrator and made a permanent part of facility records.

5. An annual certification of the sprinkler system shall be conducted by the agency who installed the system, or its authorized agent, to ensure that all components of the system are operable and in good working order.

6. Records shall be maintained of all tests, as well as the annual certification, and a copy of such records shall be maintained in the Administrative Office. (Note: persons or agencies conducting such test will be responsible for completing required records.)
