GRASMERE PLACE POWER FAILURE POLICY
Effective Date: January 2020
Policy:  To provide guidelines for facility staff regarding the actions to be taken during a power failure.
Policy Specifications:  
1. If the power goes out in the facility, the Executive Director will be notified via cell phone (executive director phone number: 773.480.4135) or designee DON/ LPHA.
2. The Executive Director/Designee will notify the local electric company (ComEd, Grasmere account: 4831116006) of the outage by contacting the emergency restoration service (1.800.376.7693 or 1.800.334.7761) and notify the Consultant Company for additional resources. 
3. The building is on two power grids and is fed with normal and emergency lines. If the power fails, electricity will be provided shortly after the outage via one or both of the two power grids.
4. If power outage lasts for an extended time, consumers should be centrally located for better supervision such as in the main dining room. Consumers should be encouraged to go to the central location.

5. If power failure is during the cold weather:

a. See Loss of Heat During Cold Weather Policy

b. Dress the residents in extra clothes, layers, and/or provide blankets as needed. 
c. Move residents to the warmest central area of the facility.
d. Offer residents warm liquids such as coffee, hot tea, hot cocoa.

6. If power failure is during the warm weather:

a. See Loss of Air Conditioning During Hot Weather Policy 

b. Limit the amount of clothing layers the resident is wearing to prevent over heating.

c. Close all window coverings.

d. Keep doors to the hallway open.

e. Offer residents extra fluids.

f. Offer towels/wash cloths moistened with cool water.

7. Notify the transfer agreement partners (sister facilities, hospital transfer agreement, church or school) of the situation and possible prepare for transfers based on consumer assessment and/or extended period of outage.  

