# HIGH TOUCH SURFACE AND BEDSIDE EQUIPMENT DISINFECTION

Purpose:	To establish a method of disinfecting resident bedside equipment.

Standard:

- Routine and targeted cleaning of environmental surfaces as indicated by the level of resident contact and degree of soiling will be required.

  - Clean and disinfect surfaces in close proximity to the resident and frequently touched surfaces (bedside tables, commodes, doorknobs, sinks) in the resident care environment on a more frequent schedule compared to other surfaces.

  - Select EPA- registered disinfectants that have microbiocidal activity against the pathogens most likely to contaminate the resident-care environment.

  - Follow manufactures instructions/guidelines for proper use of cleaning and disinfecting products (e.g., dilution, contact time, material compatibility, storage, shelf-life, safe use and disposal).

- Resident bedside equipment will remain in a clean condition at all times

and be stored in the lower portion of the night stand.

- Individual disposable items will only be used for the resident whose name

is on the item.

- Resident bedside equipment shall be washed and rinsed after each use.

- Bedpan, urinal bath basin or emesis basin contents shall be emptied into

the bathroom toilet and rinsed with clean water, upon each use.

- Equipment will be sprayed with a solution diluted in accordance with the

manufacturer’s written recommendations for low disinfection.

- Equipment should be allowed to air-dry.  After 10 minutes, wipe seating surface of commode to remove chemical residue.

- Cleaning materials and solutions shall be maintained in locked Soiled Utility Room.

- Gloves will be worn by employees to hand soiled equipment and remove blood or organic material from equipment.

- Bedside equipment consists of the following items:

Bedpans			Wash basins			Bedside Commode

Urinals			Emesis basins

NOTE: Bedside equipment may not be stored in a shared bathroom or co-

mingled with other resident supplies.