E41 Fuel Monitoring  EP Plan

Effective: January 2020

Updated: March 2020

Policy: It is the policy of the facility that detailed plans and procedures are developed and maintained to meet all potential emergencies and disasters, assuring prompt action is taken to protect the lives of residents, staff and visitors as well as property in the event of a man-made or natural disaster, for which all employees have been trained and practice regularly.

Purpose:  	1) To establish national emergency preparedness requirements to ensure adequate planning for both natural and man-made disasters, and coordination with federal, state, tribal, regional and local emergency preparedness systems.

2) To ensure the safety and well-being for the residents, visitors and staff during the event of a disaster requiring implementation of our plan.

Policy Specifications:

- Maintenance Department will be charged with ensuring generator fuel supply (if not piped Gas) is sufficient in all cases and in an Emergency will check the current supply to order refueling if necessary.   Reorder fuel will be placed when supply is less than 30%.

- When generator is in use for emergency situation the supply will be checked every two hours.

- If the Maintenance Director is not accessible for any reason this responsibility will go next in line to the Assistant Maintenance staff.

- If there is no Assistant Maintenance staff the Administrator will take this responsibility in following the process for checking or refueling.  The Administrator may contact the Extended Care Consultants for Physical Plant and Life Safety Code to assist in this process.