WEEKLY INSPECTION

AUTOMATIC SPRINKLER SYSTEMS (DRY)

FACILITY:  	______________________________		MONTH/YEAR:  _________________

SYSTEM:	______________________________

| 123 4 . | Date of inspection Inspector’s name, initials, or badge number. If valves are sealed, note “yes” in this block. If any are not sealed, reseal and note “resealed” in this block. If all sprinklers are in good condition and storage is maintained at least 18 in. below the sprinklers, note “yes” in this block. If not, see that corrections are made and briefly describe under “notes” |  |  |  | 5-8 9 |  | Record pressure readings (psi). A loss of more than 10% should be investigated. Record any notes about the system which the inspector believes to be significant. Use separate sheet if needed. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 WEEKLY (DATE) |  | 2 INSPECTOR | 3 FREE DEPARTMENT CONNECTIONS | 4 VALVES LOCKED |  | 5 ALARM VALVES |  | 6 SPARE SPRINKLERS | 7 ALARM DEVICES | 8 WATER PRESSURE | 9 NOTES |
| NOTES: ________________________________________________________________________________________________________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |